## StartHere
HHSRS self-check
Walk through the 21 hazards councils use to judge whether a home in England is safe. From 23 June 2026.
1 / Save a copy | One copy per property. Use SelfCheck on a visit, room by room, and note anything that could harm someone living there.
2 / Look and note | Each hazard has a few things to look at. They’re prompts, not a full survey. Describe what you see and where.
3 / Choose a next step | No action, keep an eye on it, fix it or get a specialist. Add your own date and mark it done when it’s sorted.
Urgent problems | Deal with anything dangerous straight away, such as a gas smell, exposed wiring or a failed heating system in winter.
Know its scope | A self-check helps you spot and fix problems. It isn’t an HHSRS assessment: only a council can score a hazard and decide its category.
About the example | WorkedExample shows four fictional findings at Oak flat on 3 Oct 2026. Filenames and dates are examples.

## SelfCheck
The 21 hazards.
Hazard names follow the HHSRS regulations as amended from 23 June 2026. “Things to look at” are our prompts, not the official baseline indicators.
Hazard | What it covers | Things to look at | What you found | Photo filename | Next step | By when (your date) | Done
Damp and mould growth | House dust mites, damp, mould or fungal growth. | Mould on walls, ceilings or window frames; damp patches; condensation; working extractor fans; leaks from gutters, roofs or pipes.
Excess cold | Low indoor temperatures. | Heating that works and can heat every habitable room; draughts; broken windows; insulation; controls the tenant can use.
Excess heat | High indoor temperatures. | Rooms that overheat in summer; ventilation; windows that open safely; exposed hot pipes or boilers in living space.
Asbestos and MMF | Asbestos fibres or manufactured mineral fibres. | Damaged or disturbed materials that might contain asbestos in older properties; loft insulation fibres. Don’t disturb suspect materials.
Indoor air pollutants | Timber and mould treatment chemicals, carbon monoxide, nitrogen dioxide, sulphur dioxide and smoke, uncombusted fuel gas and volatile organic compounds. | Gas appliances serviced and flues clear; carbon monoxide alarms where needed; smells of gas; ventilation for appliances; recent treatments or new materials.
Lead | Ingesting lead. | Old lead water pipes; flaking paint in older properties.
Radiation | Exposure to radiation, including radon. | Whether the property is in a radon affected area; any radon test results.
Crowding and space | A lack of space for living and sleeping. | Number of occupiers compared with rooms and bedrooms; bedroom sizes; space to cook, eat and relax.
Entry by intruders | Keeping the home secure against unauthorised entry. | Locks on external doors and accessible windows; door frames; lighting at entrances; shared entrance security.
Lighting | A lack of adequate lighting. | Natural light in habitable rooms; working light fittings; lighting on stairs and in shared areas.
Noise | Exposure to noise. | Noise from outside, neighbours or building services; windows and doors that close properly.
Domestic hygiene | Food preparation and cooking facilities, keeping the home clean, pests, household waste, personal hygiene, sanitation and drainage. | Kitchen worktops, storage, sink and cooker; signs of pests; bins and storage; bath or shower, basin and toilet working; blocked or slow drains.
Water supply | A supply of clean water for drinking and other domestic purposes. | Cold water from a mains supply in the kitchen; hot water; water tanks covered and clean.
Falls on the level | Falls associated with baths, showers and toilets, falls on level surfaces, and falls between changes in level under 300mm. | Slippery bathroom floors; grab rails where needed; trip hazards from damaged flooring, loose carpets or uneven paths; small steps.
Falling on stairs etc | Falls on stairs, steps or ramps of 300mm or more. | Handrails secure and continuous; treads and nosings sound; lighting on stairs; external steps.
Falling between levels | Falls from one level to another of 300mm or more, such as from windows or balconies. | Window restrictors where there’s a drop; balcony and landing guarding; loft hatches.
Electrical hazards | Exposure to electricity. | An in-date electrical safety report; damaged sockets, switches or cables; overloaded extensions; signs of scorching.
Fire and explosions | Uncontrolled fire, its smoke and fumes, and explosions. | Smoke alarms tested; escape route clear; fire doors where required; gas safety record; storage of flammable items.
Flames, hot surfaces etc | Contact with flames, hot objects, liquids or vapours. | Cooker position and space around it; very hot water from taps; exposed hot pipes and radiators.
Collisions, entrapment and ergonomics | Collision with or trapping body parts in doors, windows or other features, and the position and operability of fittings and equipment. | Doors and windows that swing or close dangerously; low headroom; glazing at risk of breakage; sockets, switches and fittings awkward to reach or use.
Structural collapse and falling elements | Collapse of the whole or part of a building. | Cracks in walls or ceilings; loose roof tiles, chimneys, gutters or render; sagging ceilings; unstable boundary walls.

## WorkedExample
A small example: Oak flat.
Fictional visit on 3 Oct 2026. Four hazards have notes; the rest weren’t relevant on the day. Use SelfCheck for your own property.
Hazard | What it covers | Things to look at | What you found | Photo filename | Next step | By when (your date) | Done
Damp and mould growth | House dust mites, damp, mould or fungal growth. | Mould on walls, ceilings or window frames; damp patches; condensation; working extractor fans; leaks from gutters, roofs or pipes. | Black mould on bedroom 1 window reveal. Extractor in bathroom not working. | oak-bed1-window-2026-10-03.jpg | Fix it | 2026-10-17
Excess cold | Low indoor temperatures. | Heating that works and can heat every habitable room; draughts; broken windows; insulation; controls the tenant can use. | Living room radiator valve stuck on low. | oak-living-radiator-2026-10-03.jpg | Fix it | 2026-10-10 | 2026-10-08
Excess heat | High indoor temperatures. | Rooms that overheat in summer; ventilation; windows that open safely; exposed hot pipes or boilers in living space.
Asbestos and MMF | Asbestos fibres or manufactured mineral fibres. | Damaged or disturbed materials that might contain asbestos in older properties; loft insulation fibres. Don’t disturb suspect materials.
Indoor air pollutants | Timber and mould treatment chemicals, carbon monoxide, nitrogen dioxide, sulphur dioxide and smoke, uncombusted fuel gas and volatile organic compounds. | Gas appliances serviced and flues clear; carbon monoxide alarms where needed; smells of gas; ventilation for appliances; recent treatments or new materials.
Lead | Ingesting lead. | Old lead water pipes; flaking paint in older properties.
Radiation | Exposure to radiation, including radon. | Whether the property is in a radon affected area; any radon test results.
Crowding and space | A lack of space for living and sleeping. | Number of occupiers compared with rooms and bedrooms; bedroom sizes; space to cook, eat and relax.
Entry by intruders | Keeping the home secure against unauthorised entry. | Locks on external doors and accessible windows; door frames; lighting at entrances; shared entrance security.
Lighting | A lack of adequate lighting. | Natural light in habitable rooms; working light fittings; lighting on stairs and in shared areas.
Noise | Exposure to noise. | Noise from outside, neighbours or building services; windows and doors that close properly.
Domestic hygiene | Food preparation and cooking facilities, keeping the home clean, pests, household waste, personal hygiene, sanitation and drainage. | Kitchen worktops, storage, sink and cooker; signs of pests; bins and storage; bath or shower, basin and toilet working; blocked or slow drains.
Water supply | A supply of clean water for drinking and other domestic purposes. | Cold water from a mains supply in the kitchen; hot water; water tanks covered and clean.
Falls on the level | Falls associated with baths, showers and toilets, falls on level surfaces, and falls between changes in level under 300mm. | Slippery bathroom floors; grab rails where needed; trip hazards from damaged flooring, loose carpets or uneven paths; small steps.
Falling on stairs etc | Falls on stairs, steps or ramps of 300mm or more. | Handrails secure and continuous; treads and nosings sound; lighting on stairs; external steps. | Handrail loose at the top of the stairs. | oak-stairs-handrail-2026-10-03.jpg | Fix it | 2026-10-06 | 2026-10-05
Falling between levels | Falls from one level to another of 300mm or more, such as from windows or balconies. | Window restrictors where there’s a drop; balcony and landing guarding; loft hatches.
Electrical hazards | Exposure to electricity. | An in-date electrical safety report; damaged sockets, switches or cables; overloaded extensions; signs of scorching. | Electrical report dated March 2024, satisfactory. No damage seen. |  | No action
Fire and explosions | Uncontrolled fire, its smoke and fumes, and explosions. | Smoke alarms tested; escape route clear; fire doors where required; gas safety record; storage of flammable items.
Flames, hot surfaces etc | Contact with flames, hot objects, liquids or vapours. | Cooker position and space around it; very hot water from taps; exposed hot pipes and radiators.
Collisions, entrapment and ergonomics | Collision with or trapping body parts in doors, windows or other features, and the position and operability of fittings and equipment. | Doors and windows that swing or close dangerously; low headroom; glazing at risk of breakage; sockets, switches and fittings awkward to reach or use.
Structural collapse and falling elements | Collapse of the whole or part of a building. | Cracks in walls or ceilings; loose roof tiles, chimneys, gutters or render; sagging ceilings; unstable boundary walls.